







MOUNTING&WIRING

WARNING:
Improper Inatallalon may cause clectical shock,freorequpmen damaga. The person periomlng the Instalabon muat be famlar with the constuckon  and oper bon of the product and aeodaladhzd
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DIMMABLE:fully dimma
ble
 
with compatible dimmer
switch to create the
 
perfect
 
atmosphere
Type of Light
 
Source:
incandescent,LED or CFL
Bulbs.Bulb base
 
E12,60 watts
 
maximum(not
 
included)
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